## 10 AU chl
Cruise | Sample | Size | Station | Cast | Bottle | Fb | Fa | Vol. Solvent (ml) | Dilution | chla (ug/)l | phaeo (ug/l) | pressure (depth)
Acetone Blk | acetone blk |  |  |  |  | -0.8 | -0.8 | 5 | 1 | 0 | -0.021355
KM1412 | 2-01-01 | GFF | 2 | 1 | 1 | 15.8 | 10.5 | 5 | 1 | 0.092586 | 0.17666 | 175
KM1412 | 2-01-03 | GFF | 2 | 1 | 3 | 34.6 | 21.9 | 5 | 1 | 0.22186 | 0.33948 | 150
KM1412 | 2-01-05 | GFF | 2 | 1 | 5 | 31.6 | 20.5 | 5 | 1 | 0.19391 | 0.33166 | 125 | In this formula from chla ug/l:
KM1412 | 2-01-07 | GFF | 2 | 1 | 7 | 20.4 | 11.4 | 5 | 1 | 0.15722 | 0.13463 | 100 | ((2.60/(2.60-1))*(G4-H4))*0.000308*((5*1))/(150/1000)
KM1412 | 2-01-09 | GFF | 2 | 1 | 9 | 12.2 | 6.25 | 5 | 1 | 0.10394 | 0.055922 | 75
KM1412 | 2-01-11 | GFF | 2 | 1 | 11 | 8.98 | 4.7 | 5 | 1 | 0.074767 | 0.045477 | 45 | 2.60 = acid ratio | 150 = sample volume | 0.000308= Door Factor (df)
KM1412 | 2-01-13 | GFF | 2 | 1 | 13 | 7.95 | 4 | 5 | 1 | 0.069003 | 0.033289 | 25 | This acid ratio may change once new standards are made
KM1412 | 2-01-15 | GFF | 2 | 1 | 15 | 7.39 | 3.65 | 5 | 1 | 0.065334 | 0.027987 | 5
KM1412 | 2-07-01 | GFF | 2 | 7 | 1 | 17.4 | 13.3 | 5 | 1 | 0.071623 | 0.2698 | 175 | I should not get negative numbers…
KM1412 | 2-07-03 | GFF | 2 | 7 | 3 | 37.1 | 23.8 | 5 | 1 | 0.23234 | 0.37777 | 150
KM1412 | 2-07-05 | GFF | 2 | 7 | 5 | 43.3 | 29.1 | 5 | 1 | 0.24806 | 0.49821 | 125
KM1412 | 2-07-07 | GFF | 2 | 7 | 7 | 24.5 | 15.1 | 5 | 1 | 0.16421 | 0.22274 | 100
KM1412 | 2-07-09 | GFF | 2 | 7 | 9 | 11.3 | 6.06 | 5 | 1 | 0.091538 | 0.063541 | 75
KM1412 | 2-07-11 | GFF | 2 | 7 | 11 | 8.06 | 4.16 | 5 | 1 | 0.068129 | 0.038284 | 45
KM1412 | 2-07-13 | GFF | 2 | 7 | 13 | 8.09 | 3.86 | 5 | 1 | 0.073894 | 0.024757 | 25
KM1412 | 2-07-15 | GFF | 2 | 7 | 15 | 7.21 | 4.63 | 5 | 1 | 0.04507 | 0.073619 | 5
KM1412 | 2-13-01 | GFF | 2 | 13 | 1 | 12.5 | 7.88 | 5 | 1 | 0.080707 | 0.12126 | 175
KM1412 | 2-13-03 | GFF | 2 | 13 | 3 | 22 | 14 | 5 | 1 | 0.13975 | 0.21911 | 150
KM1412 | 2-13-05 | GFF | 2 | 13 | 5 | 31.4 | 24.8 | 5 | 1 | 0.1153 | 0.52149 | 125
KM1412 | 2-13-07 | GFF | 2 | 13 | 7 | 41 | 27.5 | 5 | 1 | 0.23583 | 0.46939 | 100
KM1412 | 2-13-09 | GFF | 2 | 13 | 9 | 13.4 | 7.54 | 5 | 1 | 0.10237 | 0.09068 | 75
KM1412 | 2-13-11 | GFF | 2 | 13 | 11 | 8.72 | 4.52 | 5 | 1 | 0.07337 | 0.042257 | 45
KM1412 | 2-13-13 | GFF | 2 | 13 | 13 | 8.74 | 4.63 | 5 | 1 | 0.071798 | 0.046671 | 25
KM1412 | 2-13-15 | GFF | 2 | 13 | 15 | 7.56 | 3.92 | 5 | 1 | 0.063587 | 0.036692 | 5
KM1412 | 2-17-01 | GFF | 2 | 17 | 1 | 3.3 | 1.92 | 5 | 1 | 0.024107 | 0.025067 | 175
KM1412 | 2-17-03 | GFF | 2 | 17 | 3 | 3.34 | 1.9 | 5 | 1 | 0.025155 | 0.023496 | 150
KM1412 | 2-17-05 | GFF | 2 | 17 | 5 | 19.6 | 14.3 | 5 | 1 | 0.092586 | 0.27438 | 125
KM1412 | 2-17-07 | GFF | 2 | 17 | 7 | 38.8 | 26.5 | 5 | 1 | 0.21487 | 0.46481 | 100
KM1412 | 2-17-09 | GFF | 2 | 17 | 9 | 16.7 | 11.9 | 5 | 1 | 0.083851 | 0.22147 | 75
KM1412 | 2-17-11 | GFF | 2 | 17 | 11 | 12.2 | 6.95 | 5 | 1 | 0.091712 | 0.086252 | 45
KM1412 | 2-17-13 | GFF | 2 | 17 | 13 | 12.3 | 6.02 | 5 | 1 | 0.10971 | 0.044195 | 25
KM1412 | 2-17-15 | GFF | 2 | 17 | 15 | 8.45 | 4.02 | 5 | 1 | 0.077388 | 0.025349 | 5
KM1412 | 2-23-01 | GFF | 2 | 23 | 1 | 0.282 | -0.1 | 5 | 1 | 0.0066732 | -0.0092997 | 175
KM1412 | 2-23-03 | GFF | 2 | 23 | 3 | 4.46 | 2.97 | 5 | 1 | 0.026029 | 0.050131 | 150
KM1412 | 2-23-05 | GFF | 2 | 23 | 5 | 23.4 | 16.1 | 5 | 1 | 0.12752 | 0.28544 | 125
KM1412 | 2-23-07 | GFF | 2 | 23 | 7 | 47.8 | 32.5 | 5 | 1 | 0.26728 | 0.56626 | 100
KM1412 | 2-23-09 | GFF | 2 | 23 | 9 | 14 | 7.55 | 5 | 1 | 0.11268 | 0.080545 | 75
KM1412 | 2-23-11 | GFF | 2 | 23 | 11 | 10.4 | 5.37 | 5 | 1 | 0.087869 | 0.049496 | 45
KM1412 | 2-23-13 | GFF | 2 | 23 | 13 | 10 | 5.01 | 5 | 1 | 0.08717 | 0.040944 | 25
KM1412 | 2-23-15 | GFF | 2 | 23 | 15 | 10.4 | 4.98 | 5 | 1 | 0.094682 | 0.032598 | 5
KM1412 | 2-01-01 | 3 | 2 | 1 | 1 | 10.9 | 7.9 | 5 | 1 | 0.007861 | 0.022547 | 175
KM1412 | 2-01-03 | 3 | 2 | 1 | 3 | 23.9 | 14.2 | 5 | 1 | 0.025417 | 0.029146 | 150
KM1412 | 2-01-05 | 3 | 2 | 1 | 5 | 9.87 | 5.97 | 5 | 1 | 0.010219 | 0.012724 | 125
KM1412 | 2-01-07 | 3 | 2 | 1 | 7 | 8.43 | 4.41 | 5 | 1 | 0.010534 | 0.0063899 | 100
KM1412 | 2-01-09 | 3 | 2 | 1 | 9 | 10.5 | 5.23 | 5 | 1 | 0.013809 | 0.0062504 | 75
KM1412 | 2-01-11 | 3 | 2 | 1 | 11 | 3.16 | 1.24 | 5 | 1 | 0.0050311 | -0.00028956 | 45
KM1412 | 2-01-13 | 3 | 2 | 1 | 13 | 6.99 | 3.2 | 5 | 1 | 0.0099311 | 0.0023302 | 25
KM1412 | 2-01-15 | 3 | 2 | 1 | 15 | 6.93 | 3.12 | 5 | 1 | 0.0099835 | 0.0019688 | 5
KM1412 | 2-07-01 | 3 | 2 | 7 | 1 | 11.3 | 7.81 | 5 | 1 | 0.009145 | 0.020905 | 175
KM1412 | 2-07-03 | 3 | 2 | 7 | 3 | 29.3 | 18.6 | 5 | 1 | 0.028038 | 0.043476 | 150
KM1412 | 2-07-05 | 3 | 2 | 7 | 5 | 23.4 | 14.8 | 5 | 1 | 0.022535 | 0.034367 | 125
KM1412 | 2-07-07 | 3 | 2 | 7 | 7 | 9.33 | 5.81 | 5 | 1 | 0.0092236 | 0.013111 | 100
KM1412 | 2-07-09 | 3 | 2 | 7 | 9 | 4.38 | 2.34 | 5 | 1 | 0.0053455 | 0.0036364 | 75
KM1412 | 2-07-11 | 3 | 2 | 7 | 11 | 3.25 | 2.31 | 5 | 1 | 0.0024631 | 0.0064269 | 45
KM1412 | 2-07-13 | 3 | 2 | 7 | 13 | 4.97 | 2.12 | 5 | 1 | 0.007468 | 0.00064781 | 25
KM1412 | 2-07-15 | 3 | 2 | 7 | 15 | 5.89 | 2.79 | 5 | 1 | 0.0081231 | 0.0025717 | 5
KM1412 | 2-13-01 | 3 | 2 | 13 | 1 | 10.1 | 5.26 | 5 | 1 | 0.012682 | 0.0075021 | 175
KM1412 | 2-13-03 | 3 | 2 | 13 | 3 | 16.5 | 8.68 | 5 | 1 | 0.020491 | 0.012821 | 150
KM1412 | 2-13-05 | 3 | 2 | 13 | 5 | 17.2 | 9.37 | 5 | 1 | 0.020517 | 0.015456 | 125
KM1412 | 2-13-07 | 3 | 2 | 13 | 7 | 17.2 | 9.3 | 5 | 1 | 0.020701 | 0.015001 | 100
KM1412 | 2-13-09 | 3 | 2 | 13 | 9 | 5.82 | 2.42 | 5 | 1 | 0.0089092 | 0.00035191 | 75
KM1412 | 2-13-11 | 3 | 2 | 13 | 11 | 6.87 | 3.02 | 5 | 1 | 0.010088 | 0.0014774 | 45
KM1412 | 2-13-13 | 3 | 2 | 13 | 13 | 13.2 | 5.22 | 5 | 1 | 0.02091 | -0.00094794 | 25
KM1412 | 2-13-15 | 3 | 2 | 13 | 15 | 14.4 | 5.9 | 5 | 1 | 0.022273 | 0.00030118 | 5
KM1412 | 2-17-01 | 3 | 2 | 17 | 1 | 5.45 | 3.45 | 5 | 1 | 0.0052407 | 0.0080237 | 175
KM1412 | 2-17-03 | 3 | 2 | 17 | 3 | 5.08 | 3.08 | 5 | 1 | 0.0052407 | 0.0065965 | 150
KM1412 | 2-17-05 | 3 | 2 | 17 | 5 | 6.04 | 3.32 | 5 | 1 | 0.0071273 | 0.00562 | 125
KM1412 | 2-17-07 | 3 | 2 | 17 | 7 | 13 | 7.3 | 5 | 1 | 0.014936 | 0.013099 | 100
KM1412 | 2-17-09 | 3 | 2 | 17 | 9 | 4.35 | 1.94 | 5 | 1 | 0.006315 | 0.001116 | 75
KM1412 | 2-17-11 | 3 | 2 | 17 | 11 | 4.74 | 2 | 5 | 1 | 0.0071798 | 0.00047556 | 45
KM1412 | 2-17-13 | 3 | 2 | 17 | 13 | 19.1 | 8.17 | 5 | 1 | 0.02864 | 0.0026372 | 25
KM1412 | 2-17-15 | 3 | 2 | 17 | 15 | 10.9 | 5.06 | 5 | 1 | 0.015303 | 0.0040887 | 5
KM1412 | 2-23-01 | 3 | 2 | 23 | 1 | 2.15 | 1.17 | 5 | 1 | 0.0025679 | 0.0019239 | 175
KM1412 | 2-23-03 | 3 | 2 | 23 | 3 | 5.98 | 3.79 | 5 | 1 | 0.0057386 | 0.0088332 | 150
KM1412 | 2-23-05 | 3 | 2 | 23 | 5 | 6.41 | 3.49 | 5 | 1 | 0.0076514 | 0.0057473 | 125
KM1412 | 2-23-07 | 3 | 2 | 23 | 7 | 21.8 | 12.8 | 5 | 1 | 0.023583 | 0.025595 | 100
KM1412 | 2-23-09 | 3 | 2 | 23 | 9 | 8.32 | 4.21 | 5 | 1 | 0.01077 | 0.0053806 | 75
KM1412 | 2-23-11 | 3 | 2 | 23 | 11 | 3.09 | 1.11 | 5 | 1 | 0.0051883 | -0.00094952 | 45
KM1412 | 2-23-13 | 3 | 2 | 23 | 13 | 21.7 | 9.15 | 5 | 1 | 0.032885 | 0.0021374 | 25
KM1412 | 2-23-15 | 3 | 2 | 23 | 15 | 21.8 | 9.56 | 5 | 1 | 0.032073 | 0.0045379 | 5
KM1412 | 2-01-01 | 0.6 | 2 | 1 | 1 | 7.08 | 4.05 | 5 | 1 | 0.052931 | 0.050779 | 175
KM1412 | 2-01-03 | 0.6 | 2 | 1 | 3 | 12.8 | 7.48 | 5 | 1 | 0.092935 | 0.098648 | 150
KM1412 | 2-01-05 | 0.6 | 2 | 1 | 5 | 5.56 | 2.82 | 5 | 1 | 0.047865 | 0.024257 | 125
KM1412 | 2-01-07 | 0.6 | 2 | 1 | 7 | 2.33 | 0.974 | 5 | 1 | 0.023688 | 0.0011632 | 100
KM1412 | 2-01-09 | 0.6 | 2 | 1 | 9 | 2.5 | -0.3 | 5 | 1 | 0.048913 | -0.057031 | 75
KM1412 | 2-01-11 | 0.6 | 2 | 1 | 11 | 0.855 | -0.1 | 5 | 1 | 0.016683 | -0.019392 | 45
KM1412 | 2-01-13 | 0.6 | 2 | 1 | 13 | 0.383 | -0.4 | 5 | 1 | 0.013678 | -0.024077 | 25
KM1412 | 2-01-15 | 0.6 | 2 | 1 | 15 | 0.257 | -0.4 | 5 | 1 | 0.011477 | -0.021858 | 5
KM1412 | 2-07-01 | 0.6 | 2 | 7 | 1 | 8.05 | 4.88 | 5 | 1 | 0.055377 | 0.069656 | 175
KM1412 | 2-07-03 | 0.6 | 2 | 7 | 3 | 15.7 | 9.39 | 5 | 1 | 0.11023 | 0.13033 | 150
KM1412 | 2-07-05 | 0.6 | 2 | 7 | 5 | 18.5 | 10.9 | 5 | 1 | 0.13276 | 0.14644 | 125
KM1412 | 2-07-07 | 0.6 | 2 | 7 | 7 | 5.98 | 3.01 | 5 | 1 | 0.051883 | 0.025092 | 100
KM1412 | 2-07-09 | 0.6 | 2 | 7 | 9 | 1.13 | 0.059 | 5 | 1 | 0.018709 | -0.017346 | 75
KM1412 | 2-07-11 | 0.6 | 2 | 7 | 11 | 1.04 | 0 | 5 | 1 | 0.018168 | -0.018318 | 45
KM1412 | 2-07-13 | 0.6 | 2 | 7 | 13 | 0.596 | -0.1 | 5 | 1 | 0.012158 | -0.01483 | 25
KM1412 | 2-07-15 | 0.6 | 2 | 7 | 15 | 0.79 | 0.011 | 5 | 1 | 0.013608 | -0.013438 | 5
KM1412 | 2-13-01 | 0.6 | 2 | 13 | 1 | 5.8 | 3.3 | 5 | 1 | 0.043672 | 0.040827 | 175
KM1412 | 2-13-03 | 0.6 | 2 | 13 | 3 | 9.93 | 5.49 | 5 | 1 | 0.077562 | 0.062974 | 150
KM1412 | 2-13-05 | 0.6 | 2 | 13 | 5 | 13.3 | 7.83 | 5 | 1 | 0.095555 | 0.10501 | 125
KM1412 | 2-13-07 | 0.6 | 2 | 13 | 7 | 13.7 | 7.65 | 5 | 1 | 0.10569 | 0.090162 | 100
KM1412 | 2-13-09 | 0.6 | 2 | 13 | 9 | 1.22 | 0.047 | 5 | 1 | 0.020491 | -0.019452 | 75
KM1412 | 2-13-11 | 0.6 | 2 | 13 | 11 | 0.52 | -0.3 | 5 | 1 | 0.014325 | -0.022157 | 45
KM1412 | 2-13-13 | 0.6 | 2 | 13 | 13 | 0.843 | 0 | 5 | 1 | 0.014726 | -0.014848 | 25
KM1412 | 2-13-15 | 0.6 | 2 | 13 | 15 | 0.527 | -0.3 | 5 | 1 | 0.014447 | -0.022281 | 5
KM1412 | 2-17-01 | 0.6 | 2 | 17 | 1 | 1.98 | 0.73 | 5 | 1 | 0.021836 | -0.0032443 | 175
KM1412 | 2-17-03 | 0.6 | 2 | 17 | 3 | 2.04 | 0.757 | 5 | 1 | 0.022413 | -0.0031313 | 150
KM1412 | 2-17-05 | 0.6 | 2 | 17 | 5 | 12.8 | 7.94 | 5 | 1 | 0.084899 | 0.11858 | 125
KM1412 | 2-17-07 | 0.6 | 2 | 17 | 7 | 19.5 | 11.9 | 5 | 1 | 0.13276 | 0.17215 | 100
KM1412 | 2-17-09 | 0.6 | 2 | 17 | 9 | 4.37 | 2 | 5 | 1 | 0.041402 | 0.0096872 | 75
KM1412 | 2-17-11 | 0.6 | 2 | 17 | 1 | 3.15 | 1.26 | 5 | 1 | 0.033016 | -0.0008877 | 45
KM1412 | 2-17-13 | 0.6 | 2 | 17 | 13 | 2.02 | 0.409 | 5 | 1 | 0.028143 | -0.017857 | 25
KM1412 | 2-17-15 | 0.6 | 2 | 17 | 15 | 1.62 | 0.173 | 5 | 1 | 0.025278 | -0.021037 | 5
KM1412 | 2-23-01 | 0.6 | 2 | 23 | 1 | 0.48 | -0.3 | 5 | 1 | 0.013626 | -0.021453 | 175
KM1412 | 2-23-03 | 0.6 | 2 | 23 | 3 | 2.44 | 1.24 | 5 | 1 | 0.020963 | 0.010751 | 150
KM1412 | 2-23-05 | 0.6 | 2 | 23 | 5 | 14 | 8.9 | 5 | 1 | 0.089092 | 0.13904 | 125
KM1412 | 2-23-07 | 0.6 | 2 | 23 | 7 | 24.2 | 14.4 | 5 | 1 | 0.1712 | 0.19769 | 100
KM1412 | 2-23-09 | 0.6 | 2 | 23 | 9 | 2.83 | 0.829 | 5 | 1 | 0.034955 | -0.013926 | 75
KM1412 | 2-23-11 | 0.6 | 2 | 23 | 11 | 1.97 | 0.407 | 5 | 1 | 0.027304 | -0.017063 | 45
KM1412 | 2-23-13 | 0.6 | 2 | 23 | 13 | 1.41 | 0.132 | 5 | 1 | 0.022325 | -0.019115 | 25
KM1412 | 2-23-15 | 0.6 | 2 | 23 | 15 | 1.49 | 0.116 | 5 | 1 | 0.024002 | -0.021218 | 5
KM1412 | 2-01-01 | 0.2 | 2 | 1 | 1 | 12.1 | 7.43 | 5 | 1 | 0.08158 | 0.10881 | 175
KM1412 | 2-01-03 | 0.2 | 2 | 1 | 3 | 28.3 | 17.1 | 5 | 1 | 0.19565 | 0.24246 | 150
KM1412 | 2-01-05 | 0.2 | 2 | 1 | 5 | 21.7 | 13.6 | 5 | 1 | 0.1415 | 0.20706 | 125
KM1412 | 2-01-07 | 0.2 | 2 | 1 | 7 | 15.4 | 7.61 | 5 | 1 | 0.13608 | 0.058486 | 100
KM1412 | 2-01-09 | 0.2 | 2 | 1 | 9 | 7.16 | 3.14 | 5 | 1 | 0.070225 | 0.0099409 | 75
KM1412 | 2-01-11 | 0.2 | 2 | 1 | 11 | 5.34 | 1.98 | 5 | 1 | 0.058696 | -0.0082641 | 45
KM1412 | 2-01-13 | 0.2 | 2 | 1 | 13 | 5.04 | 1.88 | 5 | 1 | 0.055202 | -0.007313 | 25
KM1412 | 2-01-15 | 0.2 | 2 | 1 | 15 | 4.91 | 2.13 | 5 | 1 | 0.048564 | 0.0058088 | 5
KM1412 | 2-07-01 | 0.2 | 2 | 7 | 1 | 13.3 | 8.21 | 5 | 1 | 0.088917 | 0.12147 | 175
KM1412 | 2-07-03 | 0.2 | 2 | 7 | 3 | 29.7 | 18.5 | 5 | 1 | 0.19565 | 0.27846 | 150
KM1412 | 2-07-05 | 0.2 | 2 | 7 | 5 | 36.7 | 22.4 | 5 | 1 | 0.24981 | 0.32415 | 125
KM1412 | 2-07-07 | 0.2 | 2 | 7 | 7 | 21.2 | 12.3 | 5 | 1 | 0.15547 | 0.15954 | 100
KM1412 | 2-07-09 | 0.2 | 2 | 7 | 9 | 9.75 | 4.59 | 5 | 1 | 0.09014 | 0.027149 | 75
KM1412 | 2-07-11 | 0.2 | 2 | 7 | 11 | 6.31 | 2.65 | 5 | 1 | 0.063937 | 0.0036811 | 45
KM1412 | 2-07-13 | 0.2 | 2 | 7 | 13 | 14.5 | 2.53 | 5 | 1 | 0.2091 | -0.14577 | 25
KM1412 | 2-07-15 | 0.2 | 2 | 7 | 15 | 5.8 | 2.28 | 5 | 1 | 0.061491 | -0.0033676 | 5
KM1412 | 2-13-01 | 0.2 | 2 | 13 | 1 | 9.44 | 5.27 | 5 | 1 | 0.072846 | 0.062072 | 175
KM1412 | 2-13-03 | 0.2 | 2 | 13 | 3 | 19.4 | 11.2 | 5 | 1 | 0.14325 | 0.14358 | 150
KM1412 | 2-13-05 | 0.2 | 2 | 13 | 5 | 25.2 | 16.4 | 5 | 1 | 0.15373 | 0.26673 | 125
KM1412 | 2-13-07 | 0.2 | 2 | 13 | 7 | 34.3 | 20.7 | 5 | 1 | 0.23758 | 0.29277 | 100
KM1412 | 2-13-09 | 0.2 | 2 | 13 | 9 | 11.4 | 5.43 | 5 | 1 | 0.10429 | 0.034483 | 75
KM1412 | 2-13-11 | 0.2 | 2 | 13 | 11 | 5.39 | 2.12 | 5 | 1 | 0.057124 | -0.0030788 | 45
KM1412 | 2-13-13 | 0.2 | 2 | 13 | 13 | 6.27 | 2.68 | 5 | 1 | 0.062714 | 0.0056855 | 25
KM1412 | 2-13-15 | 0.2 | 2 | 13 | 15 | 6.28 | 2.46 | 5 | 1 | 0.066732 | -0.0040228 | 5
KM1412 | 2-17-01 | 0.2 | 2 | 17 | 1 | 2.18 | 0.9 | 5 | 1 | 0.02236 | 0.00059885 | 175
KM1412 | 2-17-03 | 0.2 | 2 | 17 | 3 | 2.63 | 1.23 | 5 | 1 | 0.024457 | 0.0069713 | 150
KM1412 | 2-17-05 | 0.2 | 2 | 17 | 5 | 16.8 | 11.1 | 5 | 1 | 0.099573 | 0.18504 | 125
KM1412 | 2-17-07 | 0.2 | 2 | 17 | 7 | 15.1 | 9.27 | 5 | 1 | 0.10184 | 0.1357 | 100
KM1412 | 2-17-09 | 0.2 | 2 | 17 | 9 | 15 | 7.37 | 5 | 1 | 0.13329 | 0.055133 | 75
KM1412 | 2-17-11 | 0.2 | 2 | 17 | 11 | 10.3 | 4.73 | 5 | 1 | 0.097302 | 0.023528 | 45
KM1412 | 2-17-13 | 0.2 | 2 | 17 | 13 | 10 | 4.59 | 5 | 1 | 0.094507 | 0.022746 | 25
KM1412 | 2-17-15 | 0.2 | 2 | 17 | 15 | 6.98 | 2.94 | 5 | 1 | 0.070575 | 0.0044456 | 5
KM1412 | 2-23-01 | 0.2 | 2 | 23 | 1 | 0.108 | -0.2 | 5 | 1 | 0.0053804 | -0.010568 | 175
KM1412 | 2-23-03 | 0.2 | 2 | 23 | 3 | 2.6 | 1.14 | 5 | 1 | 0.025505 | 0.0036001 | 150
KM1412 | 2-23-05 | 0.2 | 2 | 23 | 5 | 18.5 | 12.8 | 5 | 1 | 0.099573 | 0.22876 | 125
KM1412 | 2-23-07 | 0.2 | 2 | 23 | 7 | 37.7 | 23.3 | 5 | 1 | 0.25155 | 0.34553 | 100
KM1412 | 2-23-09 | 0.2 | 2 | 23 | 9 | 12 | 5.88 | 5 | 1 | 0.10691 | 0.043413 | 75
KM1412 | 2-23-11 | 0.2 | 2 | 23 | 11 | 8.07 | 3.45 | 5 | 1 | 0.080707 | 0.0073447 | 45
KM1412 | 2-23-13 | 0.2 | 2 | 23 | 13 | 6.55 | 2.75 | 5 | 1 | 0.066382 | 0.0037868 | 25
KM1412 | 2-23-15 | 0.2 | 2 | 23 | 15 | 6.36 | 2.46 | 5 | 1 | 0.068129 | -0.0054319 | 5

## 10-AU Calibration
2014-04-23 | Calibration of Turner 10AU Fluorometer |  |  |  | 10AU used for this was the one previously set up for Phycoerithryn - the sensitivity of it is higher than the other 10 AU.
Analyst: | TC
Primary Std: | 615.239 ug/l |  | Prepared by: AH (10/15/09)
Dilutions
ug/l | Fb | Fa | ar (acid ratio) |  | mg/l | Fb-Blkb
0 | -0.8 | -0.8
5.63 | 18 | 7.2 | 2.5 |  | 0.00563 | 18.8
11.96 | 39.2 | 15.7 | 2.4968 |  | 0.01196 | 40
21.55 | 68.9 | 28 | 2.4607 |  | 0.02155 | 69.7
|  | mean ar: | 2.4858 | df: | 0.00031357
Note on D12: Adriana Harlan: this number needs to be changed in the formula when calculating chl a and phaeo.